## Sheet1
FGEHA | Component List Summary |  |  | Reserve Study 2023 |  | Estimated Inflation rate 4% per FA
[11 empty] | 2023 |  |  |  | 2028 |  |  |  |  | 2033 | [9 empty] | 2043
Sewer System |  |  | Qty | Basis Cost | TOTAL | Est. Life | Repair | Repair * | Replace | Replace | Replacement costs - disbursed
| S H Influent House & Lift Stations | [6 empty] | cost |  | cost | 1yr | 2yrs | 3yrs | 4yrs | 5yrs | 6 yrs | 7yrs | 8yrs | 9yrs | 10yrs | 11yrs | 12yrs | 13yrs | 14yrs | 15yrs | 16yrs | 17yrs | 18yrs | 19yrs | 20yrs
| S H 1 Bldg # |  | 1 | 1250 | 1250 | 10 yrs | 2 yrs | 250 | 10 yrs | 1700 | [6 empty] | 10yrs: 1700; 20yrs: 2150
| S H 2 Blower motors |  | 2 | 800 | 1600 | 8yrs | 2yrs | 400 | 10 yrs | 2240 | [6 empty] | 8yrs: 1980; 10yrs: 2240; 20yrs: 1980
| S H 3 Roots blowers |  | 1 | 1500 | 1500 | 5yrs | 1yr | 300 | 5yrs | 1800 |  |  |  |  | 2100 |  | 10yrs: 2400; 15yrs: 2100; 20yrs: 2100
| S H 4 Aspirator motors |  | 1 | 1100 | 1100 | 4 yrs | 1 yr | 250 | 4yrs | 1276 |  |  |  | 1276 |  |  | 8yrs: 1540; 12yrs: 1800; 16yrs: 2200; 20yrs: 2600
| S H 5 Sewage Pumps |  | 1 | 4000 | 4000 | 5yrs | 2 yrs | 800 | 5 yrs | 4800 |  |  |  |  | 4800 |  | 10yrs: 5600; 15yrs: 6400; 20yrs: 6800
| S H 6 Plumbing |  | 1 | 2500 | 2500 | 5yrs | 1yr | 200 | 5yrs | 3000 |  |  |  |  | 3000 |  | 10yrs: 3500; 15yrs: 4000; 20yrs: 4400
| S H 7 Electronics |  | 1 | 500 | 500 | 5yrs | 1yr | 100 | 5yrs | 600 |  |  |  |  | 600 |  | 10yrs: 700; 15yrs: 800; 20yrs: 900
S L Lagoons
| S L 1 Lemna Covers 8'x40' |  | 8 | 3000 | 24000 | 20yrs | 2yrs | 200 | 10yrs | 33600 | [6 empty] | 10yrs: 33600; 20yrs: 42200
| S L 2 Aspirators |  | 2 | 1200 | 2400 | 10yrs | 1yr | 200 | 10yrs | 3360 | [6 empty] | 10yrs: 3360; 20yrs: 4120
S E Effluent House
| S E 1 Bldg |  | 1 | 1000 | 1000 | 10yrs | 2yrs | 150 | 10yrs | 1400 | [6 empty] | 10yrs: 1400; 20yrs: 1800
| S E 2 Chlorination system |  | 1 | 2500 | 2500 | 20yrs | 2yrs | 250 | 10yrs | 3500 | [6 empty] | 10yrs: 3500; 20yrs: 4750
| S E 3 n Effluent house system |  | 1 | 1000 | 1000 | 10 yrs | 2yrs | 150 | 10yrs | 1400 | [6 empty] | 10yrs: 1400; 20yrs: 1800
| S M 1 Sewer Main Lines |  |  | 8000 | 8000 | 30yrs | 1yr | 300 | 10yrs | 11200 | [6 empty] | 10yrs: 11200; 20yrs: 15000
|  | TOTAL |  |  | 51350 |  |  | 3550 |  | 69876 |  |  |  | 1276 | 10500 |  | 8yrs: 3520; 10yrs: 70600; 12yrs: 1800; 15yrs: 13300; 16yrs: 2200; 20yrs: 90600
Water Systems
Verde Water System - well, pumps & storage | [6 empty] | Repair
| W V 1 Verde Well |  | 1 | 2000 | 2000 | 40yrs |  |  | 20yrs | 3600 | [6 empty] | 20yrs: 3600
| W V 2 Bldg #2 -pump house |  | 1 | 1250 | 1250 | 10yrs | 1yr | 125 | 10yrs | 1700 | [6 empty] | 10yrs: 2500; 20yrs: 4000
| W V 3 Well Pump |  | 1 | 1000 | 1000 | 5yrs |  |  | 5yrs | 1200 |  |  |  |  | 1200 |  | 10yrs: 1400; 15yrs: 1600; 20yrs: 1800
| W V 4 Chlorination System |  | 1 | 500 | 500 | 20yrs | 2yrs | 100 | 10yrs | 700 | [6 empty] | 10yrs: 700; 20yrs: 950
| W V 5 Plumbing Equip |  | 1 | 500 | 500 | 20yrs | 2yrs | 100 | 10yrs | 700 | [6 empty] | 10yrs: 700; 20yrs: 950
| W V 6 Electronics |  | 1 | 600 | 600 | 5yrs | 1yr | 100 | 5yr | 730 |  |  |  |  | 625 |  | 10yrs: 730; 15yrs: 950; 20yrs: 1200
| W V 7 Sump Pump |  | 1 | 150 | 150 | 2yrs |  |  | 2yrs | 162 |  | 162 |  | 164 |  | 168 | 8yrs: 172; 10yrs: 176; 12yrs: 180; 14yrs: 184; 16yrs: 188; 18yrs: 192; 20yrs: 196
| W V 8 Utilities -Water Dist System |  |  | 2000 | 2000 | 40 yrs | 1yr | 200 | 20yrs | 2500 | [6 empty] | 20yrs: 2500
| W V 9 TOTAL Verde water |  |  |  | 8000 |  |  | 625 |  | 11292 |  | 162 |  | 164 | 1825 | 168 | 8yrs: 172; 10yrs: 6206; 12yrs: 180; 14yrs: 184; 15yrs: 2550; 16yrs: 188; 18yrs: 192; 20yrs: 15196
Verde Water Storage / Dist System
| W V T 1 Bldg # 4 |  | 1 | 1000 | 1000 | 10yrs | 1yr | 100 | 10yrs | 1100 | [6 empty] | 10yrs: 1100; 20yrs: 1100
| W V T 2 Tank -25,000 gal |  | 1 | 40000 | 40000 | 40yrs | 1yr | 250 | 20yrs | 45000 | [6 empty] | 20yrs: 45000
| W V T 3 TOTAL Tank |  |  |  | 41000 |  |  | 350 |  | 46100 | [6 empty] | 10yrs: 1100; 20yrs: 45000
Rowland Water System
| W R 1 Rowland Well |  | 1 | 2000 | 2000 | 40yrs |  |  | 20yrs | 2500 | [6 empty] | 20yrs: 2500
| W R 2 Bldg #3 Pump house |  | 1 | 1250 | 1250 | 10yrs | 1yr | 200 | 10yrs | 1500 | [6 empty] | 10yrs: 1500; 20yrs: 1500
| W R 3 Pump |  | 1 | 500 | 500 | 10yrs | 2yrs | 200 | 10yrs | 600 | [6 empty] | 10yrs: 600; 20yrs: 600
| W R 4 Pressure Tank System |  | 2 | 500 | 1000 | 5yrs | 1yr | 100 | 5yrs | 1100 |  |  |  |  | 1100 |  | 10yrs: 1100; 15yrs: 1100; 20yrs: 1100
| W R 5 Chlorination system |  | 1 | 500 | 500 | 20 yrs | 2yrs | 100 | 10yrs | 600 | [6 empty] | 10yrs: 600; 20yrs: 600
| W R 6 Plumbing Equip |  | 1 | 500 | 500 | 20yrs | 2yrs | 100 | 10yrs | 550 | [6 empty] | 10yrs: 550; 20yrs: 550
| W R 7 Electronics |  | 1 | 600 | 600 | 5yrs | 1yr | 100 | 5yrs | 650 |  |  |  |  | 650 |  | 10yrs: 650; 15yrs: 650; 20yrs: 650
| W R 8 Util Water Dist Syst |  | 1 | 2000 | 2000 | 40yrs | 1yr | 200 | 20yrs | 2500 | [6 empty] | 20yrs: 2500
| W R 9 TOTAL Rowland water |  |  |  | 8350 |  |  | 1000 |  | 10000 |  |  |  |  | 1750 |  | 10yrs: 5000; 20yrs: 10000
| W R GRAND TOTAL Water |  |  |  | 57350 |  |  | 1975 |  | 67392 |  | 162 |  | 164 | 3575 | 168 | 8yrs: 172; 10yrs: 12306; 12yrs: 180; 14yrs: 184; 15yrs: 2550; 16yrs: 188; 18yrs: 192; 20yrs: 70196
BRIDGE
| x B 1 Foundations |  | 2 | 4000 | 8000 | 70yrs |  |  | 20yrs | 10000 | [6 empty] | 20yrs: 10000
| x B 2 I-beams |  | 2 | 5000 | 10000 | 70yrs |  |  | 20 yrs | 12000 | [6 empty] | 20yrs: 12000
| x B 3 Cross supports 1' x 20' |  | 20 | 100 | 2000 | 5yrs | 2yrs | 500 | 10yrs | 2500 | [6 empty] | 10yrs: 2500; 20yrs: 2500
| x B 4 Treads (runners)2"x12"x40' |  | 6 | 150 | 900 | 2yrs |  |  | 2yrs | 1000 |  | 1000 |  | 1000 |  | 1000 | 8yrs: 1000; 10yrs: 1000; 12yrs: 1000; 14yrs: 1000; 16yrs: 1000; 18yrs: 1000; 20yrs: 1000
| x B 5 Railings & supports |  | 2 | 500 | 1000 | 20yrs | 2yrs | 250 | 20yrs | 1500 | [6 empty] | 20yrs: 1500
| x B 6 TOTAL Bridge |  |  |  | 21900 |  |  | 750 |  | 27000 |  | 1000 |  | 1000 |  | 1000 | 8yrs: 1000; 10yrs: 3500; 12yrs: 1000; 14yrs: 1000; 16yrs: 1000; 18yrs: 1000; 20yrs: 27000
EQUIPMENT | [30 empty] | Reserve
| y E 1 Kubota L1TSTC Tractor 2017 |  | 1 | 50000 | 50000 | 25yrs | 1yr | 250 | 20yrs | 60000 | [6 empty] | 20yrs: 60000 | Per Year
| y E 2 Kubota L4474 front-mount snowblower |  |  | 2850 | 2850 | 20yrs | 1yr | 250 | 10yrs | 3000 | [6 empty] | 10yrs: 3000; 20yrs: 3000 | 17400
| y E 3 Kubota L4310D Tractor 2002 |  | 1 | 19000 | 19000 | 20yrs | 1yr | 500 | 5yrs | 22500 |  |  |  |  | 22500 | [15 empty] | Reserve
| y E 4 Misc Equipment (inc. Mail shed) |  |  | 2075 | 2075 | 10yrs | 1yr | 500 | 10yrs | 2500 | [6 empty] | 10yrs: 2500; 20yrs: 2500 | per lot
| y E 5 TOTAL Equipment |  |  |  | 73925 |  |  | 1500 |  | 88000 |  |  |  |  | 22500 |  | 10yrs: 5500; 20yrs: 65500 | 310/yr
Grand Total
| z T O T A L ASSETS |  |  |  | 204525 |  |  | 7775 |  | 252268 |  | 1162 |  | 2440 | 36575 | 1168 | 8yrs: 4692; 10yrs: 91906; 12yrs: 2980; 14yrs: 1184; 15yrs: 15850; 16yrs: 3388; 18yrs: 1192; 20yrs: 253296 | 415833
[7 empty] | * Repair Costs are |  |  |  | 1yr | 2yrs | 3yrs | 4yrs | 5yrs | 6yrs | 7yrs | 8yrs | 9yrs | 10yrs | 11yrs | 12yrs | 13yrs | 14yrs | 15yrs | 16yrs | 17yrs | 18yrs | 19yrs | 20yrs
[7 empty] | in Operating Budget |  |  |  | 4yrs: Yrs 1-5; 5yrs: ~40.000; 9yrs: Yrs 6-10; 10yrs: ~100,000; 14yrs: yrs 11-15; 15yrs: ~21,000; 19yrs: yrs 16-20; 20yrs: ~255,000